{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["成武公用变电站可开放容量"],"read":"whole","date_system":"1900"}

{"sheet":"成武公用变电站可开放容量","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"merged":[[0,0,0,9],[1,0,1,9]]}
["2025年9月成武县供电公司公用变电站可开放容量信息明细表"]
["单位：千伏、台、兆伏安     "]
["序号","供电单位","变电站名称","变电站电压等级","变电站出线\n电压等级","主变数量","主变容量","用电报装主变可开放容量","分布式电源主变可开放容量","分布式电源接入电网\n承载力评估等级"]
[1,"成武县供电公司","成武县公司110kV西洼变电站",110,"110/10",2,100,42.376,0,"红色"]
[2,"成武县供电公司","成武县公司110kV秋月变电站",110,"110/10",2,126,28.8,0,"红色"]
[3,"成武县供电公司","成武县公司35kV九女变电站",35,"35/10",2,30,13.424,0,"红色"]
[4,"成武县供电公司","成武县公司35kV伯乐变电站",35,"35/10",2,40,18.736,0,"红色"]
[5,"成武县供电公司","成武县公司110kV成武变电站",110,"110/35/10",2,100,52.64,0,"红色"]
[6,"成武县供电公司","成武县公司110kV郜鼎变电站",110,"110/35/10",2,100,39.576,0,"红色"]
[7,"成武县供电公司","成武县公司110kV南鲁变电站",110,"110/35/10",2,98.2,36.552,0,"红色"]
[8,"成武县供电公司","成武县公司110kV东城变电站",110,"110/35/10",2,81.5,36.776,0,"红色"]
[9,"成武县供电公司","成武县公司110kV汉堤变电站",110,"110/35/10",2,126,40.8,0,"红色"]
[10,"成武县供电公司","成武县公司35kV韩堂变电站",35,"35/10",2,30,13.944,0,"红色"]
[11,"成武县供电公司","成武县公司110kV孟楼变电站",110,"110/35/10",2,100,39.576,0,"红色"]
[12,"成武县供电公司","成武县公司35kV张楼变电站",35,"35/10",2,63,19.472,0,"红色"]
[13,"成武县供电公司","成武县公司35kV田集变电站",35,"35/10",2,40,24.384,0,"红色"]
[14,"成武县供电公司","成武县公司35kV周店变电站",35,"35/10",2,40,9.608,0,"红色"]
[15,"成武县供电公司","成武县公司35kV汶上变电站",35,"35/10",2,40,19.76,0,"红色"]
[16,"成武县供电公司","成武县公司35kV白浮变电站",35,"35/10",2,40,18.648,0,"红色"]
[17,"成武县供电公司","成武县公司35kV苏庄变电站",35,"35/10",2,30,13.736,0,"红色"]
[18,"成武县供电公司","成武县公司35kV双楼变电站",35,"35/10",2,30,15.968,0,"红色"]
[19,"成武县供电公司","成武县公司35kV宝峰变电站",35,"35/10",2,20,10.808,0,"红色"]
[20,"成武县供电公司","成武县公司35kV卢庄变电站",35,"35/10",2,40,20.304,0,"红色"]
[21,"成武县供电公司","成武县公司35kV泉塔变电站",35,"35/10",2,40,19.12,0,"红色"]